## Sheet1
Hazards Identification & Risk Assessment
Name of Vendor: VEDANY ENERGY SOLUTIONS LLP | [12 empty] | Date: 26.05.2023
Name of Client : Endurance Technologies Ltd.
Work Activity: ELECTRICAL SAFETY AUDIT,ENERGY AUDIT, IR THERMOGRAPHY AUDIT, EARTHING AUDIT, AIR LEAK AUDIT
Sr.No | PHASE | Activity & Exposure | Hazard | Current Control Measures |  |  |  |  | S | L | Risk | Additional Preventative Measures | RR RATIN | Responsibility
1 | General | Deployment Of Manpower | Unware About Site | Site Hazards | Site Safety Induction training shall be given, |  |  |  | 2 | 2 | 4 | 1.Person will more on site with site area known person only | LOW | Supervisor / Site Engineer/ Project Manager
|  |  | leads to body injury |  | Gate Pass or Identity card will be issued | [6 empty] | 2. Person shall be follow the site signage's
| General | Site Area Clearance | Existing Combustible |  | 1.Area shall be clean proply before starting the work, |  |  |  | 2 | 2 | 4 | 0 | Low | Supervisor & site engineer
2 | [11 empty] | 2.Work Permit shall be taken from ETL Authorities
| ELECTRICAL | Live electrical connnection | Electrical shock |  | 1. Use a 11 Kv hand gloves & electrical shock proof afety shoes | [7 empty] | High | Supervisor & Site Engineer
3 |  |  |  |  | 2.Electrical work permit taken from ETL |  |  |  | 2 | 2 | 5 | 1.Work shall be done under supervision
[5 empty] | 1.Full body safety harness shall be provided to employee |  |  |  | 3 | 3 | 9 | 1.All worker should have medical fitness certificate
| Mechanical | Mechanical hazards | [9 empty] | 2.Follow the safety rules while using ladder
4 |  |  | 1.Fall Of tools and other | [8 empty] | 3.Supervision must be followed | Low | Supervisor & Site engineer
|  |  | materials |  | 2.. Safe work instruction to be followed | [6 empty] | 4. trained and experience person will be deployed for the task
|  |  | 3 Leg Injury |  | 3.Complusry PPEs Shall be provided to employee
( Safety helmet , Safety Shoe , Hand gloves )
5 |  | Housekeeping the workplace | 1.Silp,Trip & fall hazard |  | 1.Remove all unwanted material from the work location | [6 empty] | 1. Use nose mask safety shoes with steel toe shall be provided and
| General |  | 2. Hand & Foot injury |  | 2.Put all the unwanted material in designated bin | [6 empty] | confirm that they wear safety googles, cut resistance safety hand gloves
[9 empty] | 2 | 2 | 4 |  | Low | Supervisor & Site engineer
by ETL
| S | 5 | Fatality, permanent disability | L | M | H | H | H
| E | 4 | Major injury or illness serious loss | L | M | H | H | H
| V | 3 | Lost Time accidnet | L | M | M | H | H
| E | 2 | Minor injury or illness | L | L | M | M | M
| R | 1 | Trivial illness or loss | L | L | L | L | L
| I | Risk Rating Scale |  | Almost | Unlikely | Possible | Likely | Almost
| T | High : 12-15 , Medium : 6-10 |  | 1 | 2 | 3 | 4 | 5
| Y | Low : 5 & below |  | Likelihood
Prepared By
Vedant Energy Solutions LLP