| Calibration Test Certificate |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Device- BW GasAlert MAX XT II |  |  |  |  |  |  |
| Device Type:- Honeywell MultiGas Portable Detector |  |  |  |  |  | User: AVL INDIA PVT LTD |
| Manufacturer:- Honeywell Analytics Ltd |  |  |  |  |  | Certificate Date:- 01-06-2023 |
| Model:- XT-XWHM-Y-EU |  |  |  |  |  | Expiration date:- 30-11-2023 |
| Sr No:- MA-223-006109 |  |  |  |  |  |  |
| Sensors |  |  |  |  |  |  |
| Type: O2 |  | LEL | H2S |  | CO |  |
| Result: OK |  | OK | OK |  | OK |  |
| Gas Concentration: 18.0% v/v |  | 50.0% LEL | 25 PPM |  | 100 PPM |  |
| Full Scale: 0-30% v/v |  | 0-100% v/v | 0-200 PPM |  | 0-1000 PPM |  |
| Canister:- Quad gas Calibration Result:- OK (PASS) |  |  |  |  |  |  |
| Declaration |  |  |  |  |  |  |
| This certificate that the goods hereon have been inspected ,tested and calibrated in accordance |  |  |  |  |  |  |
| with the conditions and requirements of our cooperate Quality System, Servicing Standards and |  |  |  |  |  |  |
| Sales Agreement. All our calibration gases are NIST traceable-this is maintained by our gas suppliers. |  |  |  |  |  |  |
| For Mantech Automation Pvt. Ltd. |  |  |  |  |  |  |
| Authorised Signatory |  |  |  |  |  |  |

| Calibration Test Certificate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Device- BW GasAlert MAX XT II |  |  |  |  |  |  |  |  |
| Device Type:- Honeywell MultiGas Portable Detector |  |  |  |  |  | User: AVL INDIA PVT LTD |  |  |
| Manufacturer:- Honeywell Analytics Ltd |  |  |  |  |  | Certificate Date:- 01-06-2023 |  |  |
| Model:- XT-XWHM-Y-EU |  |  |  |  |  | Expiration date:- 30-11-2023 |  |  |
| Sr No:- MA-223-006182 |  |  |  |  |  |  |  |  |
| Sensors |  |  |  |  |  |  |  |  |
| Type: O2 |  | LEL | H2S |  | CO |  |  |  |
| Result: OK |  | OK | OK |  | OK |  |  |  |
| Gas Concentration: 18.0% v/v |  | 50.0% LEL | 25 PPM |  | 100 PPM |  |  |  |
| Full Scale: 0-30% v/v |  | 0-100% v/v | 0-200 PPM |  | 0-1000 PPM |  |  |  |
| Canister:- Quad gas Calibration Result:- OK (PASS) |  |  |  |  |  |  |  |  |
| Declaration |  |  |  |  |  |  |  |  |
| This certificate that the goods hereon have been inspected ,tested and calibrated in accordance |  |  |  |  |  |  |  |  |
| with the conditions and requirements of our cooperate Quality System, Servicing Standards and |  |  |  |  |  |  |  |  |
| Sales Agreement. All our calibration gases are NIST traceable-this is maintained by our gas suppliers. |  |  |  |  |  |  |  |  |
| For Mantech Automation Pvt. Ltd. |  |  |  |  |  |  |  |  |
| Authorised Signatory |  |  |  |  |  |  |  |  |